| Reagent List |  |
| --- | --- |
| Item Description | Reference Number |
| Red Top Blood Tube (w/o preservative) | 366430 - (Bd Vacutainer Labware Medical) |
| Yellow Top Blood Tube (w/ preservative) | 364606 - (Bd Vacutainer Labware Medical) |
| Sterile 50mL Conicals | 352098 - (Corning Life Sciences Dl) |
| Sterile Serological Pipettes (5mL/10mL/25mL) | 356543 / 356551 / 356535 (FALCON) |
| Ficoll Paque PLUS | 17-1440-03 - (GE Healthcare - Life Sciences) |
| Trypan Blue | T8154 - (SIGMA-ALDRICH) |
| 10X RBC Lysis Buffer | 420301 - (Biolegend) |
| 1X PBS pH 7.4 | 10010049 - (Gibco) |
| Hemocytometer | 3100 - (Hausser Scientific Partnership) |
| HI FBS | 10438026 - (Gibco) |
| DMSO | D2650-100ML - (Sigma Aldrich Fine Chemicals Biosciences) |
| Steriflip: 50mL 0.22um Vacuum Filtration System | SE1M179M6 - (Emd Millipore Corp) |
| Mr. Frosty Freezing Container | 5100-0001 - (Thermo Scientific) |
| Isopropanol | 190764-4L - (Sigma Aldrich Fine Chemicals Biosciences) |
| 2mL Cryovial | 5000-0020 - (Nalgene) |
| 0.5 mL Eppendorf Tubes | 022431005 - (Eppendorf North America Biotools) |

| Before Processing |  |
| --- | --- |
| 1 | Prepare Freezing Media 45mL FBS + 5mL DMSO Sterile filter the media w/ Steriflip and store @ 4°C ***can be stored for up to 2 months once made*** |
| 2 | Prepare 1X RBC Lysis Buffer 45mL H2O + 5mL 10X RBC lysis buffer Sterile filter the buffer w/ Steriflip and store @ 4°C |
| 3 | Prepare 1:25 Trypan Blue 2mL Trypan Blue + 48mL PBS |
| 4 | Prepare Mr. Frosty Containers Fill the internal chamber to the line w/ isopropanol and store in flammables cabinet ***refill isopropanol as needed*** |

| Processing (7 yellow + 2 red) for Serum/Plama/PBMCs ***all processing should take place in a certified BSL2 biosafety cabinet whenever possible*** |  |
| --- | --- |
| This protocol describes the simultaneous processing of iMSMS blood samples for serum/plasma and PBMCs. Note that the protocol switches between these distinct processes to best utilize incubation and centrifugation times. |  |
| 1 | Centrifuge all blood tubes briefly to remove blood from the tops |
| 2 | Take two red top tubes and two yellow top tubes and centrifuge them @2200g for 20 minutes ***these will be used for serum (red) and plasma (yellow)*** |
| 3 | Prepare three 50mL conicals with 15mL of Ficoll at the bottom of each ***avoid getting Ficoll on the walls of the conical*** |
| 4 | Transfer blood from the remaining five yellow top tubes into two empty 50mL conicals evenly ***this should be around 50mL total*** |
| 5 | Dilute the blood 1:2 with PBS and mix by inverting the conicals several times ***at this stage you should have 3 Ficoll conicals and 2 blood-PBS conicals*** |
| 6 | Using a 25mL serological pipette, gently layer the same volume of blood-PBS onto each of the three Ficoll preparations being sure to maintain distinct layers |
| 7 | Centrifuge the Ficoll layers @400g for 40 minutes with NO BRAKE |
| 8 | Retrieve the remaining blood tubes (step 2) from the centrifuge and prepare labelled cryovials for 1mL aliquots of serum and plasma ***label: ID#, sample type, date, volume*** |
| 9 | Using a serological pipette, aspirate as much of the serum or plasma layers as possible without drawing up any cells or touching the blood layer then move the serum/plasma directly into the prepared cryovials ***use one 10mL serological pipette to aliquot all plasma from both yellow tops and another 10mL serological pipette to aliquot all serum from both red tops*** |
| 10 | Place all serum and plasma cryovials into a Mr. Frosty and move into -80°C ***these can be moved into 2in. boxes for storage after 24 hours*** |
| 11 | Once the Ficoll layer spin (step 7) is complete, carefully move the conicals into the hood being sure not to mix the layers |
| 12 | Using a serological pipette, carefully aspirate the cell layers (between the clear Ficoll and yellow plasma-PBS layers) being sure not to take any of the RBC layer and as little Ficoll as possible then transfer evenly into two new 50mL conicals ***this is likely to take several passes and may require aspirating most of the Ficoll and serum-PBS layers*** |
| 13 | Complete the volume of both sample conicals to 50mL using PBS then centrifuge @400g for 15 minutes |
| 14 | Immediately move the RBC lysis buffer to the hood so it can equilibrate to room temperature |
| 15 | Retrieve the sample conicals (step 13) and pour off the supernatant into waste being sure not to lose the pellet |
| 16 | Re-suspend the cell pellet from one conical in 1mL of RBC lysis buffer by pipette |
| 17 | Transfer 1mL of re-suspended cells into the second conical and re-suspend the pellet by pipette |
| 18 | Using a serological pipette, wash the first sample conical with 4mL of RBC lysis buffer and then transfer the complete volume to wash the second conical |
| 19 | After combining, mix the entire volume by serological pipette ***at this stage there is one sample conical with all cells and 5mL of lysis buffer*** |
| 20 | Incubate @RT for 10 minutes protected from light |
| 21 | Stop the lysis by completing the volume to 50mL with PBS |
| 22 | Centrifuge the sample conical @400g for 10 minutes |
| 23 | Prepare a 0.5mL tube with 90uL of 1:25 Trypan Blue |
| 24 | Retrieve the sample conical (step 22) and pour off the supernatant into waste being sure not to lose the pellet |
| 25 | Re-suspend the pellet in exactly 10mL of PBS |
| 26 | Transfer 10uL of cell suspension into the prepared Trypan Blue and mix thoroughly |
| 27 | Transfer 10uL of the cell-Trypan Blue mixture onto a hemocytometer for cell counting |
| 28 | Count the cells in all four quadrants and then calculate the total number of cells according to the following example |

| Example PBMC Counting Calculation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Average # of Cells in Quadrants | xDilution (Trypan Blue) |  | Cells/mL | Total PBMC (10mL) |
| 65+67+73+754 =70 | X 10 | X 104 | 7.0*106 | 7.0*107 |

| 29 | Complete the volume of the sample conical to 50mL with PBS |
| --- | --- |
| 30 | Centrifuge the sample conical @400g for 10 minutes |
| 31 | Prepare labelled cryovials so that you have one 2mL cryovial for every 1x107-1.5x107 PBMCs ***label: ID#, PBMC concentration, date, volume*** |
| 32 | Retrieve the sample conical (step 30) and pour off the supernatant into waste being sure not to lose the pellet |
| 33 | Re-suspend the pellet in 1mL of Freezing Media by pipette |
| 34 | Using a serological pipette, add an appropriate volume of 4°C freezing media to the sample conical so that the concentration of cells is between 1x107 PBMC/mL and 1.5x107PBMC/mL and is suitable for 1mL aliquots ***in the above example you would create seven 1mL aliquots of 1x107 PBMC/mL*** |
| 35 | Immediately transfer 1mL of the sample into each of the prepared cryovials |
| 36 | Place all PBMC cryovials into a Mr. Frosty and move into -80°C ***these can be moved into 2in. boxes for storage after 24 hours*** |
| Serum and Plasma can be stored @ -80°C long term but PBMCs should be transferred to a -180°C gas phase nitrogen tank within one week. |  |